## Slide 1: Integration of renewable energies: competition between storage, the power grid and flexible demand
Thomas Hamacher

## Slide 2: Introduction

## Slide 3: Introduction
New power
system
Cross sector
coupling
New controls
New market
mechanism
New hierarchy of
system
Micro-grid

## Slide 4: Energy models
Energy Models
Economy
Technological change
Technology
Human behaviour
Environment

## Slide 5: Database of renewable energies generation time series
5
  Wind speed in 50 m
  Radiation
  Temperature in 2 m
  Air pressure
  Others
  Available variables
  1979 – “now”
  Available timeframe
  NASA: MERRA-Reanalysis dataset
  Data source
2/3 °resolution  540 data points
1/2 °resolution  361 data points
1 hour resolution  8760/8784 data points
  ~1,7 bn. data points per variable per year
  Time series data
  Static Data
  NASA
  Other US/EU Agencies
  Universities
  Data source
  Earth surface properties (land/sea, elevation, roughness of surface, …)
  Country/region boundaries
  Others
  Available data
Illustrations (pictures and videos) for reports and lectures
Renewable energies generation time series for modeling and statistical analysis
Data processing based on different input data
End products
Source Janker

## Slide 6: Warming up with wind-statistics
Source Janker

## Slide 7: Warming up with wind-statistics
Source Janker

## Slide 8: Warming up with wind-statistics
Source Janker

## Slide 9: A model to describe future power markets (URBS)
The year 2050 is modelled
Each country is a node in the model
New investments and power plant
scheduling are the result of cost
minimisation
Wind and PV are described by hourly
resolved time series

## Slide 10: The model: assumptions
Technology | Investment Cost | Fix Cost | Lifetime
 | [€/kW] | [€/kW] | [a]
CCGT | 750 | 11 | 30
PV- rooftop | 1080 | 29 | 25
PV- utility | 801 | 22 | 25
Wind-on | 932 | 31 | 25
Wind-off | 1495 | 60 | 20
Biomass | 2450 | 80 | 25
Region | Electricity demand [TWh]
Europe | 3000
Trukey | 509
MENA | 970
In the year 2050 CO2-emissions are
reduced by 95 % compared to the
year 1990.

## Slide 11: Wind as low cost option

## Slide 12: Results

## Slide 14: Results

## Slide 15: Storage Option

## Slide 16: Storage Option

## Slide 17: Model IMAKUS – structure
Source: Kuhn, P.: Iteratives Modell zur Optimierung von Speicherausbau und –betrieb in einem Stromsystem mit zunehmend fluktuierender Erzeugung

## Slide 18: Electricity Generation in Scenario with 15 % Lower Demand and 80 % Share of RES in 2050
Source: Kuhn, P; Kühne, M.; Heilek, C.: Integration und Bewertung erzeuger- und verbraucherseitiger Energiespeicher, KW21-Bericht, 2012

## Slide 19: Storage expansion in Scenario with 15 % Lower Demand and 80 % Share of RES in 2050
Source:
Kuhn, P; Kühne, M.; Heilek, C.:
Integration und Bewertung erzeuger- und verbraucherseitiger Energiespeicher, KW21-Bericht, 2012
Charging
Discharging
Capacity

## Slide 20: Storage capacity expansion – comparison of different scenarios
Source: Kuhn, P; Kühne, M.; Heilek, C.: Integration und Bewertung erzeuger- und verbraucherseitiger Energiespeicher, KW21-Bericht, 2012

## Slide 21: Model predictive control of building automation

## Slide 22: Conclusion
Large networks favour the integration of renewables, especially wind or
large networks would favour the penetration of wind.
A better understanding of storage requires a better understanding of
cross sector couplings and depends on the final mix.
Flexible demand is already possible in current systems (for example
building controls) but requires quite sophisticated prediction systems.